# How to select the proper microscope or Image Processing/Analysis software

- Guide to select the proper microscope:. Microscope; FL (Mono); HE, IHC (Color); 3D, Z-stack; Live cell, t-lapse; Content; Automation. AKOYA PCF2; ++++; +; ++; N/A; Multi-Plexing; +++++. MD IXMC; ++++; N/A; +++; ++++; High; +++++. Olympus/Evident BX61; ++++; ++++; +++; +; Medium; +++. Leica SP5 II; +++++; +++++; +++++; +++++; Medium; ++. Keyence BZ-X810; ++++; +++; +++; ++; Medium; ++++. - Guide to select the proper image processing/analysis software Software; Segmentation Measurement; Quality Control; Colocalization; 3D; Deconvolution; Live cell Tracking. Fiji/ImageJ; ++2D; N/A; +++; +; +; +. Image Pro Analyzer; +++2D; N/A; ++; +; +; +. Imaris; +++++2D&3D; N/A; ++++Obj; +++++; ++++; +++++. Huygens; N/A; ++++; +; ++++; +++++; N/A. MetaXpress; ++++2D; N/A; +++; ++; ++; ++..

Remarks:

+++++: Best available at BCCHR Imaging Core

++++: Better for high Performance and/or Advanced Level Applications

+++: Better for most routine applications

++: Good for certain simple routine applications

+: Only good for quick, simple and preliminary test and result

N/A: Not Appliable