Olympus BX61

The middle room A4-110B houses the popular Olympus BX61 Fluorescence and Transmittance Wide Field Microscope.

With Olympus cellSens image acquisition, process and analysis software, it is best for routine fluorescence or transmittance imaging, multi-site multi-channel automatic tile imaging with real time stitching. Olympus cellSens featuring fast automated image acquisition, powerful process tools, and much more:

- 7 Channel Fluorescence or Transmittance (Bright Field or Polarized) Imaging.

- 6 LEDs from X-cite Turbo fluorescent illumination light source.

- Olympus Real Time Controller direct control of LEDs On/Off and camera shutter minimizes effective sample fluorescent illumination time and Channel switching time.

- Multi Image Acquisition (MIA) with polygon definition for most flexible Tile Imaging with real time stitching.

- 3D Z-stack images & Extended Focus Imaging (EFI).

- The powerful workstation for fast image processing and basic analysis.

- Licensed software of Olympus cellSens 3.2, for image acquisition, image processing, converting and basic analysis.

- Imaris for Core Facilities shared one license.

- Image Pro Analyzer 6.2 (shared 5 licenses. Installable on BCCHRI LAN Networked Windows OS computer upon request,)

- ImageJ (Fiji) with Olympus Viewer plugin for processing and converting of Olympus Visual Slide Image Formatted image (.vsi file).