**How to select the proper microscope or Image Processing/Analysis software**

|  |
| --- |
|  |
| |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  | | --- | | 1. Guide to select the proper microscope: |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | | **Microscope** | **FL** (**Mono**) | **HE, IHC (Color)** | **3D, Z-stack** | **Live cell, t-lapse** | **Content** | **Automation** | | **AKOYA PCF2** | **++++** | **+** | **++** | **N/A** | **Multi-Plexing** | **+++++** | | **MD IXMC** | **++++** | **N/A** | **+++** | **++++** | **High** | **+++++** | | **Olympus/Evident BX61** | **++++** | **++++** | **+++** | **+** | **Medium** | **+++** | | **Leica SP5 II** | **+++++** | **+++++** | **+++++** | **+++++** | **Medium** | **++** | | **Keyence BZ-X810** | **++++** | **+++** | **+++** | **++** | **Medium** | **++++** |  1. Guide to select the proper image processing/analysis software  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | | Software | Segmentation  Measurement | Quality Control | Colocalization | 3D | Deconvolution | Live cell Tracking | | Fiji/ImageJ | **++2D** | **N/A** | **+++** | **+** | **+** | **+** | | Image Pro Analyzer | **+++2D** | **N/A** | **++** | **+** | **+** | **+** | | Imaris | **+++++2D&3D** | **N/A** | **++++Obj** | **+++++** | **++++** | **+++++** | | Huygens | **N/A** | **++++** | **+** | **++++** | **+++++** | **N/A** | | **MetaXpress** | **++++2D** | **N/A** | **+++** | **++** | **++** | **++** | | |

Remarks:

+++++: Best available at BCCHR Imaging Core

++++: Better for high Performance and/or Advanced Level Applications

+++: Better for most routine applications

++: Good for certain simple routine applications

+: Only good for quick, simple and preliminary test and result

N/A: Not Appliable